## Introduction
EWRA
Check List for Auditing drinking water treatment plant
Check list Section 0
Purpose and use of check-list
1. Preface
Under the Ministry of Housing and Utilities, the Egyptian Water Regulatory Agency (EWRA) is in charge of the economic and technical regulation of utilities and of supervising, reviewing and monitoring all water and drinking water activities. As crucial part of its activity EWRA performs audit of water treatment plants within the chain of controls on the quality of services provided by the water operators through specific indicators.
2. Scope and field of application of the check-list
This check-list is conceived as on-site, concise tool to support the EWRA inspectors in performing a comprehensive audit to drinking water treatment plant, involving both management and technical aspects of the functioning of the service providers in assuring adequate level of performance; the audit covers the following specific issues:
- identification and service data
- local (outside) circumstances and security issues
- organization, human resources, procedures and training
- safety of workplace, environmental and equipment conditions
- operation and maintenance
- power supply and ancillary services
- drinking water network
- reporting and monitoring data.
3. Use of the check-list within the audit
As ideal approach, the inspection of drinking water treatment plant should be performed by a preliminary collection of data supplied by the service provider - some information could be then sampled and verified during the on-site visit. Since the assessment involves both management and technical aspects of the functioning of the company, the inspection should be ideally performed by a simple team composed by a system auditor (expertize in regulation, management, organization, functioning, administrative, safety, human resource, etc.) and a technical expert, focused on the capability of the plant in assuring the performance of the treatment, both for the effective load of DW treatment and for the quality of the process; this mainly involves the field of operation & maintenance and other technical parts (e.g., chemical management, technical services, etc.).
4. Estimation of the performance value by the check-list and possible follow-up of the auditing
This check-list is a simple and concise tool to support the EWRA inspectors in performing a comprehensive audit. Any critical issue observed during the audit may require more specific investigation or follow-up auditing, for instance, the observation of repeated out of control of the characteristics of the influent sewage (e.g., for pH) may trigger for illegal discharge of industrial DW and require immediate actions to identify the possible pollution source.
A tentative assessment/judgment is designed on the check-list; by including the auditor observation on the different points*, thus generating a score of the performance based on basic risk assessment (high/medium/low)realted to different possible follow-up:
H. the audit revealed critical issues needed for immediate/short term response actions;
The risk is considered H when the total points obtained with the assessment are < 50% full score**
M. the audit revealed major issues needed for medium/long term response actions;
The risk is considered M when the total points obtained with the assessment are 50-70 % full score**
L. the audit revealed good performance and minor issues needed for medium/long term response actions.
The risk is considered L when the total points obtained with the assessment are > 70 % full score**
Some specific information concerning critical issue (indicated as evidenced text in the check list) may directly indicate high risk conditions of the DW plant, depending by the auditor judgment
Specific adaptation to local purpose and circmstances may drive possible changes by the auditors to the criteria of scores for specific items used for the final judgment of the plant performanc: for instance one could assigned more weight (different scores, i.e. 15 for Y) to the assessd sections concerning the Operation and mantainnance sectionn of the check-list.
5. Quality of the information/data and audit
Two additional indicators are considered to assess the quality of the information and on the audit:
When the cumulative NS (items not assessed) are > 50 % of the total item to be assessed the Audit is considered poor and it is recomended to perform further audits soon.
The audit is considered to have high uncertainty when there is a high rate of referred items in comparison with the observation based on evidence and data; so that (n. total R) / (n. total E) >1
* The response by auditor in check-list maybe: Yes (= Low risk = 10 points), Fairly (= Medium risk = 5 point) (i.e. partially/incompletely), No (High risk = 0 point) or NA (not applicable); NS = Not assessed for specific reason (e.g. no enough time); the source of the data could be: E (i.e., evidence by real data or direct observation) or R (i.e., reference by interview or indirect source).
**Full score = Total items assessed (Total n. items - NA n. items - NS n. items) * 10
LEGENDA:
NA = Not applicable
NS = Not assessed
Y = Yes -> L = fully adequate / low risk Any Y corresponds to 10 points
F = Fairly -> M = not fully adequate / potentially related to relatively medium risk. Any F corresponds to 5 points
N =No -> H = not adequate / potentially related to relatively high risk . Any N corresponds to 0 points

## Identification & Service data
EWRA
Check List for Auditing drinking water treatment plant
Check list Section 1
Audit data, DW plant and service data
WATER COMPANY:
DATE OF INSPECTION:
FACILITY:
LOCATION:
CONTACT PERSON:
CONTACT PHONE:
AUDIT TEAM AND REPORTER:
Routine AUDIT | o | On-demand AUDIT: |  | o
Specific reason:
Type of connections: | o | domestic
| o | commercial
| o | industrial
Preliminary documentary stage:
Schematic diagram of the plant illustrates origin of inlet water, treatment units and existing equipments |  |  | Reference documents
Summary description of the treatment processes, sequence of treatments and objectives for water quality |  |  | Reference documents
Previous Inspectional Checks
Relevant changes from the last sudit
There is a plan to extend existing plants, lines and/or networks
ITEM |  | N° | L/ABXD | Q (mc/s)
POPULATION (PE) SERVED dry weather flow
POPULATION (PE) SERVED wet weather flow
Relevant (>24 hrs) service Interruption during past year:
Compliance with drinking water quality standards (data from QC Division) |  | Yes | No | Specify

## Ouside area & security
EWRA
Roport of Auditing Water treatment plant
Check list Section 2
Outside and local circumstances & Security issues
1. | Local context | o | Agricoltural area
|  | o | Industrial area
|  | o | Green area
|  | o | Residential area
2. | Access type/vulnerability | o | Free-entry area
|  | o | Area where Managing Authority may NOT go into
|  | o | Only Managing Authority may go into the area
|  | o | other*, let's specify it…
3. | Area protection devices | o | no
|  | o | Low fence
|  | o | High fence
|  | o | vehicle parking barriers
|  | o | other*, let's specify it…
4. | Existence of alert system of the outside area | o | no
|  | o | yes
|  | o | yes, visual and acoustic alarm
|  | o | yes, connection with TLC
|  | o | yes, connection with TLC and with law enforcement

## Org & Human Res
EWRA
Roport of Auditing Water treatment plant
Check list Section 3
Organization, human resources, procedures and training
ITEM | ASSESSMENT | [10 empty] | Notes
Is there an organizational chart | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there a map/ maps illustrates served areas and future extensions? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is the number of employees sufficient to execute required tasks efficiently? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Did the level of employees' qualification adequate for the nature of their tasks? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there a job description for each job in the administration? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Access and safety on workplace procedures | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Operation and maintainance procedures in place: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there a register for the operation & maintenance of pumps? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there an instruction for operation & maintenance works? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there a Water safety plan planned or implemented | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there an Emergency Plan? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is the administration preparing plans for future training needs? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there database regarding employees training? (Previous – current – future). | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there a determined budget to increase employee's skills? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is this budget enough to execute administration activities? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
How many employees that granted Accreditation Certificate? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there obvious determination of the mutual relations nature with other assistant administrations? (Commercial & financial – customers service). | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there procedures manual for the services to be provided by the company? (Service contracting – meter repair/change – bills inquiry). | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there standard operational procedures regarding plants – networks – operation orders? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is the administration actually working according to the operation procedures | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Did the company provide additional services against fees? (Tanks disinfection – install and maintenance of internal joints - ……..) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Did repairs and service severance have been registered? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there plans to face emergenciess and crisis? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Did the administration have to issue periodical reports about its works' results? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Did the current service centers equivalent with; the number of served citizens – number of customers – citizens geographical distribution – managerial division? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Periodic report of relevant operation and maintainance activities | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there allocated budget for Operation & Maintenance works? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is there job description for Operation & Maintenance administration? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is this budget considered enough for Operation & Maintenance works? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS

## Safety workplace
EWRA
Roport of Auditing Water treatment plant
Check list Section 4
Safety of workplace, environmental and equipment conditions
ITEM | ASSESSMENT | [10 empty] | Note
Chemical handling procedures in place | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Spill containment / dual wall tanks | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Ventilation | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Bulk tanks labeled | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Bulk tank drains / fill lines capped | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Corrosion control of metal surfaces | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Pipes properly labeled | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Separation of chemicals | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Chemical hazard identification signs posted | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Adequate lighting: (if outside then Non Applicable) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Leak detector | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Cylinders secured and adequately managed | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Temperature Control, Heat / Air/ Dehumidifier | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Written safety & incentive procedure | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Written Accident report procedures | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Procedure for visitors | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Overall facility maintenance inside | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Overall facility maintenance outside | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Grounds Well Kept | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
| ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
ALL LOCAL TECHNICAL AND ELECTRICAL ARE EQUIPPED WITH FIRE EXTINGUISHERS CO2 AND / OR FOAM, DRY | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
THE NETWORK AND FIRE 'CONNECTED TO aqueduct ABLE TO ENSURE CONTINUITY | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
IF YOU DO NOT 'CONNECTED TO A WATER SUPPLY, it IS USED WATER PURIFIED | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Segregation area availble for anaerobic digesters | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
TORCH AND EXISTING 'ABLE TO DISPOSE OF ALL THE STORED GAS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
ADEQUATE FIRE-FIGHTING SIGNALS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
ALL EMPLOYEES ARE AWARE OF THE RISKS RELATED TO THE SMOKE /USE OF OPEN FLAMES I | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
GENERALLY EFFECTIVE SYSTEM | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS

## Oper&Maintain DW
EWRA
Roport of Auditing Water treatment plant
Check list Section 5
Operation and maintainance
ISSUE | ASSESSMENT | [10 empty] | NOTE
PUMPING STATION
Characteristics:
The pump station is adequate for sewage influent | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
There are gates with automatic activation | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
It is scheduled deodorization | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Effective control of activation pump station | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Adequate system of flow regulation and control | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Dimensions:
Adequate dimension (number and size) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Replacement equipments available | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Clarification: Coagulation , Flocculation , Sedimentation
Chemical Addition and Mixing
Jar Test for choosing the best rates for mixing | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
mixing adequate for chemical dispersion | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
mixing provisions adequate for immediate dispersion of the chemicals | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
standby equipment provided to assure chemical feed capability | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
procedures established for chemical feeds based on water quality conditions | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
flow controls in place for adjustment of chemical feed rates | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
provisions to effectively determine the amount of chemical fed | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Coagulation
Assessment of coagulant addition practices for optimum particle removal: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
procedures and practices in place for determining optimum chemical dosage | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Assessment of use of coagulant aid for enhanced treatment capability | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
records of plant operations and performance established and maintained | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Evaluation of flocculation basins:
inlet conditions provide good flow distribution to multiple basins and within individual basins | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
basins diverted to improve flow distribution at inlet, exit and between stages | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Assessment of basin detention time for adequate reaction time | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Assessment of flocculation equipment:
adequate operating characteristic of flocculation equipment and level of mixing at the range of operating temperatures | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
flocculation equipment designed for tapered flocculation and operated as such | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
adjustment of flocculation equipment speed to vary mixing intensity in place | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sedimentation
Evaluation of basin entry and exit conditions: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
flow distribution across basin by basin baffled adequate | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
sludge carry-over continuously or on an occasional basis | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Evaluation of basin residence time characteristics | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Evaluation of sludge draw-off capabilities: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Effective draw-off procedures in place to assure that sludge levels are properly maintained | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Filtration
Characteristics:
The filters appear adequate to the treatment | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
There are valves with automatic activation | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Effective control of backwashing system | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Is the general appearance during backwashing such that media is uniform with a lateral motion on the surface? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Does relative distribution of washwater appear uniform in which washwater clears up over the entire surface at the end of the wash? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Evaluate/observe degree of media expansion and determine if sufficient clearances are provided between the top of the media and filter backwash troughs to prevent excess loss of media. | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Dimensions:
Adequate dimension (number and size) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Replacement equipments available | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
OXIDATION SECTION
sodium hypochlorite | ☐
chlorine gas | ☐
chlorine dioxide | ☐
ozone | ☐
other | ☐
Reagent dosing effective | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Process control effective | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
TLC monitoring | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
DISINFECTION
sodium hypochlorite | ☐
chlorine gas | ☐
chlorine dioxide | ☐
ozone | ☐
other | ☐
Reagent dosing effective | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Process control effective | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
TLC monitoring | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sewer | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Dosing point effective | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Redundancy (double/triple chlorinators) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Corrosion condition of the injection point | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
GAC SECTION
Outside desanding conservation status | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Leakages | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Valves functionality | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Washing and backwashing system: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Manual vents line | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Pressure valves security | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Hydraulic by-pass of the treatment system | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Inspection runway | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Crawlspaces: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Activated charcoal discharge: | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Specific levy taps | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sewer | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Control process parameter effective | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
REVERSE OSMOSIS SECTION
Hydraulics
The antiscalant dosing line shall submits leakages | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
no leakages in the piping | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
no leakages from pumps | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Regular working pressure are ensured | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Regular working flows are ensured | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sectioning valves working | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
by-pass valve | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
inlet osmosis valve | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
all the valves does work | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Hydraulic by-pass of the treatment system | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Storage protection against outside objects (water, bugs, grime, etc.…) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sewer | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Process control parameter | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
flows | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
pressures | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
conductivity | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
flows and pressures | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
flows, pressures and conductivity | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Control sections | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Automation and TLC
TLC monitoring | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
inlet flow OI | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
permeated flow | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
concentrated flow | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
booster first pressure | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
1° stage pressure | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
2° stage pressure | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
pressure of the concentrated | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
1° stage conductivity | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
permeated conductivity | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
concentrated conductivity | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
pumps effectiveness | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS

## Power supply & ancillary serv
EWRA
Roport of Auditing Water treatment plant
Check list Section 6
Power supply and ancillary services
ISSUE | ASSESSMENT | [10 empty] | NOTE
POWER SUPPLY
TRANSFORMATION CABINS IN PLACE AND ADEQUATE (REDONDANT) FOR ORDINARY AND PEAK CONDITIONS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
TRANSFORMERS IN PLACE AND ADEQUATE (REDONDANT) FOR ORDINARY AND OVERLOAD CONDITIONS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
EMERGENCY POWER SUPPLY ADEQUATE FOR MAINTAINING ESSENTIAL SERVICES >6H | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
THERE ARE NEVER BEEN FIRE, EXPLOSION OR SHORT CIRCUITS ECC. | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
THE SIGNS AND 'LIGHT, AND PROPERIN COMPLIANCE WITH SAFETY REGULATIONS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
ANCILLARY SERVICES
ANALYTICAL LABORATORY INSIDE OR COMMITTED | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
THE LABORATORY INTERNAL COVERS ALL NEED 'OF LAW AND OPERATIONAL | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
SPACES AVAILABLE FOR OFFICES | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
SPACES AVAILABLE FOR MEETINGS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
The SET OF OFFICES, TECHNICAL ROOMS, TOILETS, SQUARES, STREETS ADEQUATE AS SPACING AND ENVIRONMENTAL CONDITIONS | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
SPARING PARTS AND REPLACEMENT OF EQUIPMENTS AVAILABLE | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
MAINTAINANCE CONTRACTS FOR ESSENTIAL EQUIPMENTS (e.g. pumps) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS

## Drinking water network
EWRA
Roport of Auditing Water treatment plant
Check list Section 7
Distribution system
District town:
Civil user n°
Industrial users n°
Total users n°
Total water network length [km] inside the district:
Sensitive users (hospital, hospices, schools, etc.)
ISSUE | ASSESSMENT | [10 empty] | NOTE
Map or adequate knowledge of the distribution network | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Surveillance and mantainance of the networks existing and implemented | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Possible dangerous connections with DW pipelines or other contamination sources | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Monitoring of operational parameters (e.g. flow, pressure, etc.) in place | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Disinfection of the pipelines implemented on routinarly or extraordinary basis | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sampling points in the distribution network | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Residual disinfectant at the end of networks measured and assured | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Service areas divided hydraulically | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
WEBGIS map | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Low number of leakages (value depending by local circumstances) | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS

## Labor, Monitoring &report data
EWRA
Roport of Auditing Water treatment plant
Check list Section 8
Laboratory, Monitoring and report data
ITEM | ASSESSMENT | [10 empty] | NOTE
INTERNAL LABORATORY
There is an internal laboratory | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
The laboratory is effectively operating for all the relevant tests and related operations | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Relevant tests not performed within the internal lab are assigned to external laboratories | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Instrument in place are adequate to the test and effectively operating | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Sampling is adequately performed and controlled | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
The laboratory flow (request of test, cycle of test sample within the lab, analytical test and test report) is well designed and effectively operating | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Analytical procedures are in place and adequately implemented | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Analyitical reports are produced in compliance with the purposes | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
The quality of data is under control | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
The communication (information flow) beetween laboratory and other sectors is effectively adequate for the purposes | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
MONITORING DATA
PARAMETER MEASURED | ASSESSMENT | [10 empty] | NOTE
Microbiological parameters monitored according to the current regulation | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Chemical parameters monitored according to the current regulation | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
ITEM | ASSESSMENT | [10 empty] | NOTE
Is there a unit regarding data, statistics and reports? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS
Did customers' service management collect required data periodically form subordinate units? | ☐ | Y | ☐ | F | ☐ | N | R/E | ☐ | NA | ☐ | NS